## Title Page
IXIT Proforma for Bluetooth Conformance Test Suites
Bluetooth System Specification
This document specifies the Implementation eXtra Information for Test (IXIT) and is a supplement to the Test Suites and ICS documents to help execute tests using Bluetooth dedicated test equipment. Supported values are given as a single value or a range depending on the nature of the parameter.
Key to the Tables of the Implementation eXtra Information for Test |  | Associated
Table | Contents | ICS document
CGMP | Continuous Glucose Monitoring Profile | CGMP.ICS.p8
CGMS | Continuous Glucose Monitoring Service | CGMS.ICS.p8
NOTE: A test plan will define the applicable tests to be executed on an implementation; thus, a subset of the values listed in here may need to be filled out.
Release date: | 2026-02-17
Document number: | IXIT for CGMP and CGMS
Document version: | p2
Published during TCRL: | TCRL.pkg102

## Copyright
Disclaimer and Copyright Notice
This document, regardless of its title or content, is not a Bluetooth Specification as defined in the Bluetooth Patent/Copyright License Agreement (“PCLA”) and Bluetooth Trademark License Agreement. Use of this document by members of Bluetooth SIG is governed by the membership and other related agreements between Bluetooth SIG Inc. (“Bluetooth SIG”) and its members, including the PCLA and other agreements posted on Bluetooth SIG’s website located at www.bluetooth.com.
THIS DOCUMENT IS PROVIDED “AS IS” AND BLUETOOTH SIG, ITS MEMBERS, AND THEIR AFFILIATES MAKE NO REPRESENTATIONS OR WARRANTIES AND DISCLAIM ALL WARRANTIES, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY, TITLE, NON-INFRINGEMENT, FITNESS FOR ANY PARTICULAR PURPOSE, THAT THE CONTENT OF THIS DOCUMENT IS FREE OF ERRORS.
TO THE EXTENT NOT PROHIBITED BY LAW, BLUETOOTH SIG, ITS MEMBERS, AND THEIR AFFILIATES DISCLAIM ALL LIABILITY ARISING OUT OF OR RELATING TO USE OF THIS DOCUMENT AND ANY INFORMATION CONTAINED IN THIS DOCUMENT, INCLUDING LOST REVENUE, PROFITS, DATA OR PROGRAMS, OR BUSINESS INTERRUPTION, OR FOR SPECIAL, INDIRECT, CONSEQUENTIAL, INCIDENTAL OR PUNITIVE DAMAGES, HOWEVER CAUSED AND REGARDLESS OF THE THEORY OF LIABILITY, AND EVEN IF BLUETOOTH SIG, ITS MEMBERS, OR THEIR AFFILIATES HAVE BEEN ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.
This document is proprietary to Bluetooth SIG. This document may contain or cover subject matter that is intellectual property of Bluetooth SIG and its members. The furnishing of this document does not grant any license to any intellectual property of Bluetooth SIG or its members.
This document is subject to change without notice.
Copyright © 2014–2026 by Bluetooth SIG, Inc. The Bluetooth word mark and logos are owned by Bluetooth SIG, Inc. Other third-party brands and names are the property of their respective owners.

## Revisions
Revision History
Version | Date | Changes | Changes made by
p0 | 2014-11-25 | Initial publication
p1r00–r01 | 2021-10-19 | TSE 18087 (rating 4): Changes from E17414. Added entry TSPX_iut_maximum_calibration_process_time. Updated to latest IXIT template. Editorials from Alicia, and update of copyright page to v2 of the DNMD. | Ismail Mohamud, Dawn McGinty
p1 | 2022-01-25 | Approved by BTI on 2022-01-06. Prepared for TCRL 2021-2 publication. | Dawn McGinty
p2r00 | 2025-12-16 | TSE 28237 (rating 2): Updated the Type field for CGMS IXIT items to represent ranges using IA5String format with value pairs. | Stephanie Geels
p2 | 2026-02-17 | Approved by BTI on 2026-01-21. Prepared for TCRL pkg102 publication. | Stephanie Geels

## CGMP
Addendum to ICS proforma for Continuous Glucose Monitoring Profile (CGMP)
Implementation eXtra Information for Test, IXIT
Identifier | Description | Default Value | Units (if applicable) | Type | Comments
TSPX_iut_supported_dis_characteristics_uuid_list | List of all DIS characteristics UUIDs supported by IUT separated by ",". |  | N/A | IA5String | Set of values of all Device Information Service characteristic UUIDs that the IUT supports.

## CGMS
Addendum to ICS proforma for Continuous Glucose Monitoring Service (CGMS)
Implementation eXtra Information for Test, IXIT
Identifier | Description | Default Value | Units (if applicable) | Type | Comments
TSPX_iut_range_communication_interval | Range of Communication Interval |  | min | IA5String (pair of UINT8 separated by ",") | Range of communication interval for CGM Measurement characteristic notifications supported by the IUT. Format: "min,max" (e.g., "1,60" for 1 to 60 minutes)
TSPX_iut_range_patient_high | Range of Patient High Alert Level |  | mg/dl | IA5String (pair of SFLOAT separated by ",") | Range allowed for Patient High threshold value. Format: "min,max" (e.g., "100.0,400.0")
TSPX_iut_range_patient_low | Range of Patient Low Alert Level |  | mg/dl | IA5String (pair of SFLOAT separated by ",") | Range allowed for Patient Low threshold value. Format: "min,max" (e.g., "40.0,100.0")
TSPX_iut_range_hypo | Range of Hypo Alert Level |  | mg/dl | IA5String (pair of SFLOAT separated by ",") | Range allowed for Hypo threshold value. Format: "min,max" (e.g., "40.0,80.0")
TSPX_iut_range_hyper | Range of Hyper Alert Level |  | mg/dl | IA5String (pair of SFLOAT separated by ",") | Range allowed for Hyper threshold value. Format: "min,max" (e.g., "180.0,400.0")
TSPX_iut_range_decrease | Range of Rate of Decrease Alert Level |  | mg/dl/min | IA5String (pair of SFLOAT separated by ",") | Range allowed for rate of decrease threshold value. Format: "min,max" (e.g., "-10.0,-1.0")
TSPX_iut_range_increase | Range of Rate of Increase Alert Level |  | mg/dl/min | IA5String (pair of SFLOAT separated by ",") | Range allowed for rate of increase threshold value. Format: "min,max" (e.g., "1.0,10.0")
TSPX_iut_maximum_calibration_process_time | Maximum Calibration Process Time |  | min | UINT8 | Maximum Calibration Process Time specifies the maximum amount of time it takes the Sensor to complete the calibration.